## Symbols
NEW SYMBOL ID | OLD SYMBOL ID | Description
ND0048 | LZ009A | Special Item
ND0049 | PA001A | Actuator Type E H M
ND0050 | PA002A | Actuator Type W P D S
ND0051 | PA003A | Manual Actuator
ND0052 | PA004A | Spring Return Actuator
ND0053 | PA005A | Dual Solenoid Actuator
ND0054 | PA006A | Piston
ND0055 | PA007A | Ballast Diaphragm Actuator
ND0056 | PA008A | Diaphragm Actuator
ND0057 | PD001A | Blow Out Preventer
ND0058 | PD002A | Diverter Assembly
ND0059 | PD003A | General Block
ND0060 | PD004A | Well
ND0061 | PD005A | Blowout Prevent Stack
ND0062 | PD006A | Drilling Separator
ND0063 | PD007A | Drilling Hydrocyclone
ND0064 | PD008A | Mud Cleaner
ND0065 | PD009A | Shale Shaker
ND0066 | PD010A | Screen
ND0067 | PD011A | Slide Gate
ND0068 | PD012A | Rotary Valve
ND0069 | PD013A | Diverter Gate
ND0070 | PD014A | Activator
ND0071 | PD015A | Rotating Drum Strainer
ND0072 | PD016A | Drainage Pump
ND0073 | PD017A | Feeder
ND0074 | PD018A | Gumbo Trap
ND0075 | PD019A | Ditch
ND0076 | PD020A | Mud Gun
ND0077 | PE001A | Concentric Reducer
ND0078 | PE002A | Eccentric Reducer
ND0079 | PE003A | Inline Mixer
ND0080 | PE004A | Mixing Or Barred Tee
ND0081 | PE005A | Union Coupling
ND0082A | PE006A | Eductor
ND0082B | PE006B | Ejector
ND0084 | PE007A | VesselBoot
ND0085 | PE008A | Internal heating coil
ND0086 | PE009A | Exch. Compact Heat
ND0087 | PE010A | Exch. Plate
ND0088 | PE011A | Exch. Fin
ND0089 | PE012A | Hydrocyclon
ND0090 | PE013A | Vent or Flare Tip
ND0091 | PE014A | Centrifuge Drilling
ND0092 | PE015A | Conveyor Screw
ND0093 | PE016A | Conveyor Screw Front View
ND0094 | PE017A | Pig LaunchersReceiver
ND0095 | PE018A | Drive Electric Motor
ND0096 | PE019A | Weigh Feeder
ND0097 | PE020A | Drives Type by XX
ND0098 | PE021A | Turbine Type by XX
ND0099 | PE022A | Crusher
ND0100 | PE023A | Bag Filter
ND0101 | PE024A | Drip pan
ND0102 | PE025A | Tank Atmospheric Storage
ND0103 | PE026A | Burner
ND0104 | PE027A | Gutter
ND0105 | PE028A | Air Cooled Forced
ND0106 | PE029A | Air Cooled Induced
ND0107 | PE030A | Centrifuge
ND0108 | PE031A | Conveyor Mechanism
ND0109 | PE032A | Pump Submerged Motor
ND0110 | PE033A | Calibrating Gauge
ND0111 | PE034A | Insulation
ND0112 | PE035A | Generic Exchanger
ND0113 | PE036A | Reboiler
ND0114 | PE037A | Exch. Shell and Fuced Tube
ND0115 | PE038A | Exch. Shell and Tube H$V
ND0116 | PE039A | Exch. Shell and Tube
ND0117 | PE040A | Exch. Double Pipe
ND0118 | PE041A | Separator Membrane
ND0119 | PE042A | Heater Electrical
ND0120 | PE043A | Exch. Waste Heat Rec. Unit
ND0121 | PF001A | Flow T. Positiv Disp.
ND0122 | PF002A | Flow T. Turbine
ND0123 | PF003A | Flow T. Vortex
ND0124 | PF004A | Inline Measuring Element
ND0125 | PF005A | Flow T. Sonic
ND0126 | PF006A | Flow T. Averaging Pitot
ND0127 | PF007A | Flow T. Element
ND0128 | PF008A | Flow T. Electromagnetic
ND0129 | PF009A | Flow T. Flow Glass
ND0130 | PF010A | Flow T. Flow Indicator
ND0131 | PF011A | Flow T. Orifice Plate Quick Change
ND0132 | PF012A | Flow T. Rupture Disk
ND0133 | PF013A | Flow T. Flow Nozzle
ND0134 | PF014A | Flow T. Venturi
ND0135 | PF015A | Flow T. Orifice Plate
ND0136 | PP001A | Pump Centrifugal
ND0137 | PP002A | Pump Diaphragm
ND0138 | PP003A | Pump Gear
ND0139 | PP004A | Pump Hand
ND0140 | PP005A | Pump Sliding Vane
ND0141 | PP006A | Pump Liquid Ring
ND0142 | PP007A | Blower
ND0143 | PP008A | Pump Proportioning
ND0144 | PP009A | Pump Triplex
ND0145 | PP010A | Pump Reciprocating
ND0146 | PP011A | Compressor Centrifugal
ND0147 | PP012A | Compressor Screw
ND0148 | PP013A | General Electrical
ND0149 | PP014A | Pump Screw
ND0150 | PP015A | Pump Lift
ND0151 | PP016A | Pump Sump
ND0152 | PP017A | Agitator
ND0153 | PS001A | Spectacle Blind NO
ND0154 | PS003A | Spade
ND0155 | PS004A | Spacer
ND0156 | PS005A | Welded Cap
ND0157 | PS006A | Screwed Cap
ND0158 | PS007A | Hose Connection
ND0159 | PS008A | Greylock
ND0160 | PS009A | Swivel Joint
ND0161 | PS010A | Reducing Flange
ND0162 | PS011A | Strainer Permanent
ND0163 | PS012A | Strainer Temporary
ND0164 | PS013A | Strainer Duplex
ND0165 | PS014A | Strainer
ND0166 | PS015A | Strainer Y Type
ND0167 | PS016A | Strainer T Type
ND0168 | PT002A | Pressure Vessel
ND0169 | PT003A | Tank Tower
ND0170 | PT004A | Tank Pressure Quick Open Lid
ND0171 | PT005A | Tank Dome Roof
ND0172 | PT006A | Tank Cone Roof Silo
ND0173 | PT007A | Tank Gas Bottle
ND0174 | PT008A | Tank Tote
ND0175 | PT009A | Tank Open Pit
ND0176 | PT010A | Tank Open Unequal Wall Height
ND0177 | PT011A | Tank Hopper
ND0178 | PV001A | Flange
ND0179 | PV002A | Blind Flange
ND0180A | PV003A | Valve Three Way (Manual Valve)
ND0180B | PV003B | Valve Three Way (Actuated Valve)
ND0181A | PV004A | Valve Four Way (Manual Valve)
ND0181B | PV004B | Valve Four Way (Actuated Valve)
ND0182A | PV005A | Valve Gate (Manual Valve)
ND0182B | PV005B | Valve Gate (Actuated Valve)
ND0183A | PV007A | Valve Globe (Manual Valve)
ND0183B | PV007B | Valve Globe (Actuated Valve)
ND0184A | PV008A | Valve Floate (Manual Valve)
ND0184B | PV008B | Valve Floate (Actuated Valve)
ND0185 | PV009A | Valve Min. Flow And Check
ND0186 | PV010A | Valve Choke
ND0187 | PV012A | Valve Vacuum Release
ND0188 | PV013A | Valve Check
ND0189A | PV014A | Valve Pinch (Manual Valve)
ND0189B | PV014B | Valve Pinch (Actuated Valve)
ND0190A | PV015A | Valve Diaphragm (Manual Valve)
ND0190B | PV015B | Valve Diaphragm (Actuated Valve)
ND0191A | PV016A | Valve Needle (Manual Valve)
ND0191B | PV016B | Valve Needle (Actuated Valve)
ND0192A | PV018A | Valve Butterfly (Manual Valve)
ND0192B | PV018B | Valve Butterfly (Actuated Valve)
ND0193A | PV019A | Valve Ball (Manual Valve)
ND0193B | PV019B | Valve Ball (Actuated Valve)
ND0194 | PV021A | Valve Block Bleed
ND0195 | PV022A | Flow Control Check Valve
ND0196A | PV023A | Valve Plug (Manual Valve)
ND0196B | PV023B | Valve Plug (Actuated Valve)
ND0197 | PZ002A | Manway Front View
ND0198 | PZ003A | Manway
ND0199 | PZ004A | Vortex Breaker
ND0200 | PZ005A | Direct Heating Heater
ND0201 | PZ006A | Washing System
ND0202 | PZ007A | Chimney Tray
ND0203 | PZ008A | Internal Spray Nozzle
ND0204 | PZ009A | Tower packing
ND0205 | PZ010A | Tray Tower
ND0206A | PZ011A | Gully Drain
ND0206B | PZ011B | Gully Drain
ND0208 | PZ012A | Drain Box
ND0209 | PZ013A | Open or Tundish Drain
ND0210 | PZ014A | Vent
ND0211 | PZ015A | Water Seal With Vent
ND0212 | PZ016A | Flame Arrester
ND0213 | PZ017A | Air Release Trap
ND0214 | PZ018A | Trap of Drainer
ND0215 | PZ019A | Trap
ND0216 | PZ020A | Flexible Hose
ND0217 | PZ021A | Expansion Joint
ND0218 | PZ022A | Flow Straight Vane
ND0219 | PZ023A | Silencer
ND0220 | PZ024A | Diaphragm Seal
ND0221 | PZ025A | Diffuser
ND0222 | PZ026A | Acoustic Noise Reducer
ND0223 | PZ027A | Mixed Or Barred Tee
ND0224 | STPL008 | Pipeline slope
ND0248A | IM005A | Field Instrument
ND0248B | IM005B | Instrument Label
ND0249A | IM017A | Shut Down - Arrow Down
ND0249B | IM017B | Additional Level of Shut Down
ND0249C | IM017C | Shut Down - Arrow Up
Note on C84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No signal
Note on C85: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No Signal - in-line